## 1 Check List
| System: | BF-XLD-SDL
| Sales Order: | SO00XXX
1. | Mains electricity in your laboratory
| 1-phase: | ? | Volts | ? | Hz
| 3-phase: | ? | Volts | ? | Hz
OR
Choose power supply for the components*
| Gas Handling System |  |  | Choose...
| Pulse Tube Compressor** |  |  | Choose...
* Does not affect the device perfomance.
** Please note that some voltage options require a separate transformer
2. | Confirmation of port configuration
| KF40-2 | FREE
| KF40-3 | FREE
| KF40-5 | FREE
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
| Confirm? |  | Yes
Attenuator summary (HD wiring attenuator blocks excluded)
SMA
| 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| 121 | 0 | 31 | 96 | 58 | 114
K-2.92mm
| 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| 0 | 0 | 0 | 0 | 0 | 0
3. | Confirmation of the cryostat parts
| Please refer to |  | Your cryostat layout
| Confirm? |  | Choose...
4. | Confirmation of the magnet stray field map (if applicable)
| Please refer to |  | Magnet stray field
| Confirm? |  | Choose...
5. | Confirmed by
| Organization: | LTL, Aalto
| Name: | A.Savin
| Date: | 2021-06-14
Bluefors Oy 2019

## Sideloader (1) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.8 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.9 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.10 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.11 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.12 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.13 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.14 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.15 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.16 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.17 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.18 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.19 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.20 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.21 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.22 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.23 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.24 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.25 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.26 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.27 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.28 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.29 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.30 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.31 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.32 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  | HD Wiring |  |  |  |  | Attenuator blocks
|  | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line

## Sideloader (2) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.8 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.9 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.10 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.11 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.12 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.13 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.14 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.15 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.16 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.17 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.18 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.19 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.20 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.21 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.22 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.23 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.24 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.25 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.26 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.27 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.28 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.29 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.30 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.31 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.32 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  | HD Wiring |  |  |  |  | Attenuator blocks
|  | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line

## Sideloader (3) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.8 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.9 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.10 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.11 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.12 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.13 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.14 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.15 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.16 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.17 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.18 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.19 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.20 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.21 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.22 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.23 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.24 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.25 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.26 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.27 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.28 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.29 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.30 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.31 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.32 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  | HD Wiring |  |  |  |  | Attenuator blocks
|  | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line

## Sideloader (4)
|  | System | BF-XLD-SDL
|  | Sales Order | SO00XXX
Comments
|  | Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
|  | KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
|  | KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
|  | KF40-5 | FREE | [9 empty] | 52 | 0 | 4 | 16 | 8 | 20 | 0 | 0 | 0 | 0 | 0 | 0
|  | KF40-6 | DC wiring
|  | KF40-9 | FREE
|  | KF40-10 | FREE
|  | KF40-11 | FREE
|  | Sideloader-1 | NOT ENGAGED
|  | Sideloader-2 | NOT ENGAGED
|  | Sideloader-3 | NOT ENGAGED
|  | Sideloader-4 | RF installation set 25x SMA
|  | Sideloader-5 | RF Installation set 32x SMA
|  | Sideloader-6 | RF Installation set 32x SMA
|  |  | RF Installation set |  |  |  |  | Attenuators
|  | Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
| 1.1 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.2 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.3 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.4 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.5 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.6 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.7 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.8 | SMA | SN219 | SN219 | NT086 | NT086 | NT086 | 0dB | 0dB | 0dB | 0dB | 0dB | 5 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.9 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.10 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.11 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.12 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.13 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.14 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.15 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.16 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.17 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.18 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.19 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.20 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.21 | SMA | [5 empty] | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.22 | SMA | [5 empty] | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.23 | SMA | [5 empty] | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.24 | SMA | [5 empty] | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.25 | SMA | [5 empty] | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.26 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.27 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.10 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.29 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.30 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.31 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.32 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | HD Wiring |  |  |  |  | Attenuator blocks
|  |  | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
| 1.1 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.2 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.3 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.4 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.5 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.6 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.7 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Bluefors Oy 2019
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line

## Sideloader (5)
|  | System | BF-XLD-SDL
|  | Sales Order | SO00XXX
Comments
|  | Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
|  | KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
|  | KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
|  | KF40-5 | FREE | [9 empty] | 33 | 0 | 11 | 42 | 22 | 52 | 0 | 0 | 0 | 0 | 0 | 0
|  | KF40-6 | DC wiring
|  | KF40-9 | FREE
|  | KF40-10 | FREE
|  | KF40-11 | FREE
|  | Sideloader-1 | NOT ENGAGED
|  | Sideloader-2 | NOT ENGAGED
|  | Sideloader-3 | NOT ENGAGED
|  | Sideloader-4 | RF installation set 25x SMA
|  | Sideloader-5 | RF Installation set 32x SMA
|  | Sideloader-6 | RF Installation set 32x SMA
|  |  | RF Installation set |  |  |  |  | Attenuators
|  | Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
| 1.1 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.2 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.3 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.4 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.5 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.6 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.7 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.8 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.9 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.10 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.11 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.12 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.13 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.14 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.15 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.16 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.17 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.18 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.19 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.20 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 10dB | 0 | 0 | 0 | 2 | 2 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.21 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.22 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.23 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.24 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.25 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.26 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.27 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.28 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.29 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.30 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.31 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.32 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | HD Wiring |  |  |  |  | Attenuator blocks
|  |  | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
| 1.1 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.2 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.3 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.4 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.5 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.6 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 1.7 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Bluefors Oy 2019
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line

## Sideloader (6)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 36 | 0 | 16 | 38 | 28 | 42 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.8 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.9 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.10 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.11 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.12 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.13 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.14 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.15 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.16 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 6dB | 20dB | 20dB | 0 | 0 | 0 | 2 | 1 | 2 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.17 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.18 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.19 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.20 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.21 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.22 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.23 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.24 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.25 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.26 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 3dB | 20dB | 0dB | 0dB | 0dB | 3 | 0 | 1 | 0 | 0 | 1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.27 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 3dB | 10dB | 0dB | 1 | 0 | 1 | 1 | 2 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.28 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 3dB | 10dB | 0dB | 1 | 0 | 1 | 1 | 2 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.29 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 3dB | 10dB | 0dB | 1 | 0 | 1 | 1 | 2 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.30 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 3dB | 10dB | 0dB | 1 | 0 | 1 | 1 | 2 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.31 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 3dB | 10dB | 0dB | 1 | 0 | 1 | 1 | 2 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.32 | SMA | SN086 | SN086 | SN086 | SN086 | SN086 | 6dB | 10dB | 3dB | 10dB | 0dB | 1 | 0 | 1 | 1 | 2 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  | HD Wiring |  |  |  |  | Attenuator blocks
|  | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 |  | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line

## KF40 (6)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No | 8x LNA wiring
1.2 | No | Cu |  | NbTi/CuNi | NbTi/CuNi | NbTi/CuNi
1.3 | No | PhBr |  | PhBr | PhBr | PhBr
1.4 | No | PhBr |  | PhBr | PhBr | PhBr
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## KF40 (2) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | no comment
| KF40-2 | FREE
| KF40-3 | FREE
| KF40-5 | FREE
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No
1.2 | No
1.3 | No
1.4 | No
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## KF40 (3) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | no comment
| KF40-2 | FREE
| KF40-3 | FREE
| KF40-5 | FREE
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No
1.2 | No
1.3 | No
1.4 | No
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## KF40 (5) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | no comment
| KF40-2 | FREE
| KF40-3 | FREE
| KF40-5 | FREE
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No
1.2 | No
1.3 | No
1.4 | No
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## KF40 (10) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | no comment
| KF40-2 | FREE
| KF40-3 | FREE
| KF40-5 | FREE
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No
1.2 | No
1.3 | No
1.4 | No
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## KF40 (9) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No
1.2 | No
1.3 | No
1.4 | No
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## KF40 (11) (hidden)
| System | BF-XLD-SDL
| Sales Order | SO00XXX
Comments
| Port index | Quick overview | [9 empty] | Attenuators | [11 empty] | no comment
| KF40-2 | FREE | [9 empty] | SMA | [5 empty] | K-2.92
| KF40-3 | FREE | [9 empty] | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB | 0dB | 1dB | 3dB | 6dB | 10dB | 20dB
| KF40-5 | FREE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KF40-6 | DC wiring
| KF40-9 | FREE
| KF40-10 | FREE
| KF40-11 | FREE
| Sideloader-1 | NOT ENGAGED
| Sideloader-2 | NOT ENGAGED
| Sideloader-3 | NOT ENGAGED
| Sideloader-4 | RF installation set 25x SMA
| Sideloader-5 | RF Installation set 32x SMA
| Sideloader-6 | RF Installation set 32x SMA
|  | DC lines |  |  |  |  | Break.out
| EM Shielding | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | No
1.2 | No
1.3 | No
1.4 | No
|  | RF Installation set |  |  |  |  | Attenuators
| Connector type | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | 50K | 4K | Still | CP | MXC
1.1 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.2 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.3 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.4 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.5 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.6 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
1.7 | SMA | ? | ? | ? | ? | ? | Select | Select | Select | Select | Select | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Optical fiber integration package
| Connector type | RT-MXC
1.1 | FC/PC
1.2 | FC/PC
1.3 | FC/PC
1.4 | FC/PC
1.5 | FC/PC
1.6 | FC/PC
1.7 | FC/PC
1.8 | FC/PC
Bluefors Cryogenics 2018
Legend:
Coaxial cables
SN219 2.19mm SCuNi-CuNi semi-rigid coaxial line
SN086 0.86mm SCuNi-CuNi semi-rigid coaxial line
Grapho CuNi-CuNi flexible coaxial line with graphite coated FEP dielectric
NT086 0.86mm NbTi superconducting coaxial line
Legend:
Twisted wire pair wiring
PhBr: 12x 36 AWG phosphor-bronze
Cu: 12x 35 AWG copper
NbTi/CuNi: Niobium-titanium filaments embedded in coppernickel

## 3 Cryostat layout (hidden)
CAN BE OPENED IN ANY PDF-READER - DOUBLE-CLICK ON THE IMAGE | <<BACK TO CHECKLIST
Comments Section:
By accepting this drawing, you confirm:
1. Vacuum can
2. Radiation shields
3. Frame
4. Magnet (if applicable)
5. Windows (if applicable)

## 4 Magnet stray field (hidden)
<<BACK TO CHECKLIST
Comments Section:

## Lookups (hidden)
55wireport | Sideloader | KF40-2 | KF40-3 | KF40-5 | KF40-6 | KF40-9 | KF40-10 | KF40-11 | DC RT-4K | DC 4K-MXC | RF RT-4K | RF 4K-MXC | RT-50K | 50K-4K | 4K-Still | Still-CP | CP-MXC | attenuation options
NOT ENGAGED | NOT ENGAGED | FREE | FREE | FREE | FREE | FREE | FREE | FREE | PhBr | PhBr | SN219 | SN086 | 24xSN086 | 24xSN086 | 24xSN086 | 24xSN086 | 24xSN086 | 12x0dB+12x0dB
RF Installation set 55x SMA | RF installation set 25x SMA | DC wiring | DC wiring | DC wiring | DC wiring | RF installation set | RF installation set | RF installation set | Cu | NbTi/CuNi | SN086 | Grapho |  |  | 24xNT086 | 24xNT086 | 24xNT086 | 12x0dB+12x1dB
| RF Installation set 32x SMA | Optical fiber integration package | Optical fiber integration package | Optical fiber integration package | Optical fiber integration package | Coaxial lines | Coaxial lines | Coaxial lines | Attocube | Attocube | Grapho | Thermocoax |  |  | 12xSN086+12xNT086 | 12xSN086+12xNT086 | 12xSN086+12xNT086 | 12x0dB+12x3dB
| High density wiring |  |  |  |  | DC wiring | DC wiring | DC wiring | 4x LNA wiring | Thermocoax | Thermocoax | NT086 | [5 empty] | 12x0dB+12x6dB
[6 empty] | LNA wiring | LNA wiring | LNA wiring | 8x LNA wiring | [8 empty] | 12x0dB+12x10dB
[6 empty] | Long-life cold trap | LN2 precooling loop |  | Themocoax | [8 empty] | 12x0dB+12x20dB
[6 empty] | LN2 precooling loop | [11 empty] | 12x1dB+12x1dB
12x1dB+12x3dB
12x1dB+12x6dB
12x1dB+12x10dB
12x1dB+12x20dB
12x3dB+12x3dB
12x3dB+12x6dB
12x3dB+12x10dB
12x3dB+12x20dB
12x6dB+12x6dB
12x6dB+12x10dB
12x6dB+12x20dB
12x10dB+12x10dB
12x10dB+12x20dB
12x20dB+12x20dB